## Worksheet
Title | Acronym | Contact Person | Center | Aircraft | Type | Measurements | Measurement Range | Measurement Instrument Pointing | Measurement Frequency | Measurement Swath Width | Measurement Horizontal Resolution | Measurement Vertical Resolution | Measurement Wavelengths (f_inst_wavelength)
BroadBand Radiometers | BBR | Anthony Bucholtz (PI) | NPS | DC-8 - AFRC; ER-2 - AFRC; P-3 Orion - WFF; C-130H - WFF; WB-57 - JSC | Radiometer | Solar and IR radiative flux; Total; Direct; Diffuse Solar radiative flux | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Pointing Angles0,180Measurement Sampling Rate1.00 Hz | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Pointing Angles0,180Measurement Sampling Rate1.00 Hz | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Pointing Angles0,180Measurement Sampling Rate1.00 Hz | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Pointing Angles0,180Measurement Sampling Rate1.00 Hz | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Pointing Angles0,180Measurement Sampling Rate1.00 Hz | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Pointing Angles0,180Measurement Sampling Rate1.00 Hz | 200.00 nm3600.00 nm1900.00 nm3400.00 nm1Solar BroadbandnmYes: has spectral bands specified by upper and lower values, 4500.00 nm42000.00 nm23250.00 nm37500.00 nm1IR BroadbandnmYes: has spectral bands specified by upper and lower values