## Worksheet
Title | Acronym | Contact Person | Center | Aircraft | Type | Measurements | Measurement Range | Measurement Instrument Pointing | Measurement Frequency | Measurement Swath Width | Measurement Horizontal Resolution | Measurement Vertical Resolution | Measurement Wavelengths (f_inst_wavelength)
Doppler Aerosol WiNd Lidar | DAWN | Michael J. Kavaya (PI) | NASA LaRC | DC-8 - AFRC; B-200 (UC-12B) - LARC | Lidar | Line of Sight Wind Speed; Vector Wind Speed and Direction; Aerosol Backscattering | Range of MeasurementVertical profileInstrument PointingConical scanningPointing Angles30 deg nadirMeasurement Sampling Rate10.00 HzVertical Resolution33.00 m | Range of MeasurementVertical profileInstrument PointingConical scanningPointing Angles30 deg nadirMeasurement Sampling Rate10.00 HzVertical Resolution33.00 m | Range of MeasurementVertical profileInstrument PointingConical scanningPointing Angles30 deg nadirMeasurement Sampling Rate10.00 HzVertical Resolution33.00 m | Range of MeasurementVertical profileInstrument PointingConical scanningPointing Angles30 deg nadirMeasurement Sampling Rate10.00 HzVertical Resolution33.00 m | Range of MeasurementVertical profileInstrument PointingConical scanningPointing Angles30 deg nadirMeasurement Sampling Rate10.00 HzVertical Resolution33.00 m | Range of MeasurementVertical profileInstrument PointingConical scanningPointing Angles30 deg nadirMeasurement Sampling Rate10.00 HzVertical Resolution33.00 m