## Worksheet
Title | Acronym | Contact Person | Center | Aircraft | Type | Measurements | Measurement Range | Measurement Instrument Pointing | Measurement Frequency | Measurement Swath Width | Measurement Horizontal Resolution | Measurement Vertical Resolution | Measurement Wavelengths (f_inst_wavelength)
14-channel NASA Ames Airborne Tracking Sunphotometer | AATS-14 | Stephen Broccardo (PI) | NASA ARC | DC-8 - AFRC; J-31; P-3 Orion - WFF; Convair 580 NRC; Twin Otter International; C130H - WFF | Photometer | Aerosol; H2O; O3; Optical Depth; NO2 | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking
Dual-Beam UV-Absorption Ozone Photometer | NOAA O3 Classic | Erik Richard (PI) | NOAA ESRL | ER-2 - AFRC; Balloon; WB-57 - JSC | Photometer | O3
Hawaii Group for Environmental Aerosol Research | HIGEAR | Antony Clarke (Co-I) | U Hawaii | DC-8 - AFRC; P-3 Orion - WFF | CN counter; Differential mobility; Laser absorption; Optical particle counter; Photometer; Spectrometer | Particle Absorption; CCN; Particle Scattering; Aerosol Size Distribution; Black Carbon
Multi-kilohertz Microlaser Altimeter | MMLA | Phil Dabney (PI) | NASA GSFC | P-3 Orion - WFF | Camera; Photometer | Topography
Multispectral Atmospheric Mapping Sensor | MAMS | James D. Jacobson Jr. (Mgr) | BAERI | ER-2 - AFRC | Photometer | H2O (total); Temperature | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width37000.00 m (at 20 km)Horizontal Resolution100.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width37000.00 m (at 20 km)Horizontal Resolution100.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width37000.00 m (at 20 km)Horizontal Resolution100.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width37000.00 m (at 20 km)Horizontal Resolution100.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width37000.00 m (at 20 km)Horizontal Resolution100.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width37000.00 m (at 20 km)Horizontal Resolution100.00 m (at 20 km) | 0.45 µm0.52 µm0.49 µm0.07 µm1µmYes: has spectral bands specified by upper and lower values, 0.52 µm0.60 µm0.56 µm0.08 µm1µmYes: has spectral bands specified by upper and lower values, 0.57 µm0.67 µm0.62 µm0.10 µm1µmYes: has spectral bands specified by upper and lower values, 0.60 µm0.73 µm0.67 µm0.13 µm1µmYes: has spectral bands specified by upper and lower values, 0.65 µm0.83 µm0.74 µm0.18 µm1µmYes: has spectral bands specified by upper and lower values, 0.72 µm0.99 µm0.86 µm0.27 µm1µmYes: has spectral bands specified by upper and lower values, 0.83 µm1.05 µm0.94 µm0.22 µm1µmYes: has spectral bands specified by upper and lower values, 3.55 µm3.93 µm3.74 µm0.38 µm1µmYes: has spectral bands specified by upper and lower values, 8.50 µm14.00 µm11.25 µm5.50 µm1µmYes: has spectral bands specified by upper and lower values, 10.30 µm12.10 µm11.20 µm1.80 µm1µmYes: has spectral bands specified by upper and lower values, 12.50 µm12.80 µm12.65 µm0.30 µm1µmYes: has spectral bands specified by upper and lower values
O3 Photometer - UAS (NOAA) | UASO3 | Troy Thornberry (PI) | NOAA ESRL | WB-57 - JSC; Global Hawk - AFRC; ER-2 - AFRC | Photometer | O3 | Range of MeasurementIn situMeasurement Sampling Rate2.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate2.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate2.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate2.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate2.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate2.00 Hz
O3 Photometer (NOAA) | NOAA O3 | Troy Thornberry (PI) | NOAA ESRL | Gulfstream V - NSF; WB-57 - JSC; Global Hawk - AFRC; ER-2 - AFRC | Photometer | O3
Sandia National Laboratory 2-channel Radiometer | PHOT | Dick Spalding (PI) | Sandia Nat Lab | DC-8 - AFRC | Photometer; Radiometer | Brightness Temperature
Single Particle Soot Photometer (NOAA) | SP2 | Joshua (Shuka) Schwarz (PI) | NOAA CSL | C-130H - WFF; DC-8 - AFRC; WB-57 - JSC; GV - NCAR; Gulfstream III - LaRC | Photometer | Black Carbon; Aerosol | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz