## Worksheet
Title | Acronym | Contact Person | Center | Aircraft | Type | Measurements | Measurement Range | Measurement Instrument Pointing | Measurement Frequency | Measurement Swath Width | Measurement Horizontal Resolution | Measurement Vertical Resolution | Measurement Wavelengths (f_inst_wavelength)
Particle Into Liquid Sampler | PILS | Rodney Weber (PI) | GA Tech | C-130H - WFF; DC-8 - AFRC; P-3 Orion - WFF | Ion Chromatography | Na; NH4; K; Mg; Ca+2; Cl; NO2; NO3; SO4; PO4; Br-; WSOC | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ
Soluble Acidic Gases and Aerosols | SAGA | Jack Dibb (PI) | UNH | DC-8 - AFRC | Ion Chromatography | Na; NH4; K; Mg; Ca+2; Cl; Br-; NO3; SO4; C2O4-2; Be-7; Pb-210; HNO3 | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ