## Sheet1
Title | Acronym | Contact Person | Center | Aircraft | Type | Measurements | Measurement Range | Measurement Instrument Pointing | Measurement Frequency | Measurement Swath Width | Measurement Horizontal Resolution | Measurement Vertical Resolution | Measurement Wavelengths | Measurement Notes
Diode Laser Hygrometer | DLH | Glenn S. Diskin (PI) | NASA LaRC | B200 - LARC, DC-8 - AFRC, Global Hawk - AFRC, P-3 Orion - WFF, WB-57 - JSC, Sherpa - WFF, HU25 Falcon - LaRC, Twin Otter - CIRPAS - NPS | Laser absorption | H2O | In situ |  | 100 Hz
In-Situ Aerosol Retrieval Algorithm | ISARA | Snorre Stamnes (PI) | NASA LaRC | Twin Otter - CIRPAS - NPS
Langley Aerosol Research Group Experiment | LARGE | Luke D. Ziemba (PI) | NASA LaRC | DC-8 - AFRC, C-130H - WFF, P-3 Orion - WFF, HU-25 Falcon - LaRC, King Air B-200 - LaRC/Dynamic, Twin Otter - CIRPAS - NPS | CN counter, Nephelometer, Optical particle counter | Aerosol Number Concentration, Aerosol Size Distribution, Scattering Coefficient, Absorption Coefficient | In situ |  | 1 Hz |  |  |  | 405 nm; 530 nm; 700 nm
Laser Imaging Nephelometer | LI-Nephelometer | Adam Ahern (PI) | NOAA CSL | Twin Otter - CIRPAS - NPS, DC-8 - AFRC | Nephelometer
Solar Spectral Flux Radiometer | SSFR | Peter Pilewskie (Co-I) | CU Boulder | Altair, DC-8 - AFRC, ER-2 - AFRC, Global Hawk - AFRC, J-31, P-3 Orion - WFF, C-130H - WFF, Twin Otter - CIRPAS - NPS | Radiometer | Solar flux, Irradiance | Other | Zenith (directly upwards), Nadir (directly downwards) | 1 Hz |  |  |  | 300-1000 nm; 950-2150 nm