## Worksheet
Title | Acronym | Contact Person | Center | Aircraft | Type | Measurements | Measurement Range | Measurement Instrument Pointing | Measurement Frequency | Measurement Swath Width | Measurement Horizontal Resolution | Measurement Vertical Resolution | Measurement Wavelengths | Measurement Notes
Aircraft Laser Infrared Absorption Spectrometer | ALIAS | Lance Christensen (PI) | JPL | Balloon; ER-2 - AFRC; WB-57 - JSC; WB-57 - JSC | Laser absorption; Spectrometer (in situ) | N2O; H2O isotopes; H2O; CO; CH4; CO2 isotopes; HCl
Argus Tunable Diode Laser Instrument | ARGUS | Max Loewenstein (PI) | NASA ARC | Balloon; ER-2 - AFRC; WB-57 - JSC | Laser absorption; Spectrometer (in situ) | CO; CH4; N2O | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | 3.30 µm3.30 µm3.30 µm0.00 µm1CH4µmYes: has discrete wavelengths, 4.70 µm4.70 µm4.70 µm0.00 µm1COµmYes: has discrete wavelengths | {field_meas_spectrum_1-notes}, {field_meas_spectrum_1-notes}
Carbon Airborne Flux Experiment | CARAFE | Glenn M. Wolfe (PI) | NASA GSFC | C-23 Sherpa - WFF | Laser absorption | CO2; CH4; H2O concentrations and fluxes | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz
Carbon Monoxide By Attenuation of Laser Transmission | COBALT | James Podolske (PI) | NASA ARC | DC-8 - AFRC; P-3 Orion - WFF | Laser absorption | CO | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ
Carbon monOxide Measurement from Ames | COMA | Roy R. Johnson (Mgr) | NASA ARC | P-3 Orion - WFF; WB-57 - JSC | Laser absorption | CO; N2O; H2O | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz
Carbon Oxide Laser Detector 2 | COLD 2 | Francesco D'Amato (PI) | CNRI | WB-57 - JSC | Laser absorption | CO and N2O | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz
Closed-path Laser Hygrometer | CLH | Linnea Avallone (PI) | NSF | Gulfstream V - NSF; WB-57 - JSC; DC-8- AFRC | Laser absorption | H2O (total) | Range of MeasurementIn situMeasurement Sampling Rate0.80 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.80 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.80 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.80 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.80 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.80 Hz
Closed-path Laser Hygrometer 2 | CLH2 | Darin Toohey (PI) | CU Boulder | Gulfstream V - NSF; C-230 - NSF; DC-8- AFRC | Laser absorption; Spectrometer (in situ) | H2O (total) | Range of MeasurementIn situMeasurement Sampling Rate45.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate45.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate45.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate45.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate45.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate45.00 Hz
Differential Absorption Carbon monOxide Measurement | DACOM | Glenn S. Diskin (PI) | NASA LaRC | DC-8 - AFRC; P-3 Orion - WFF | Laser absorption; Spectrometer (in situ) | N2O; CO; CH4; CO2 | Range of MeasurementIn situMeasurement Sampling Rate5.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate5.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate5.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate5.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate5.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate5.00 Hz
Diode Laser Hygrometer | DLH | Glenn S. Diskin (PI) | NASA LaRC | B200 - LARC; DC-8 - AFRC; Global Hawk - AFRC; P-3 Orion - WFF; WB-57 - JSC; Sherpa - WFF; HU25 Falcon - LaRC; Twin Otter - CIRPAS - NPS | Laser absorption | H2O | Range of MeasurementIn situMeasurement Sampling Rate100.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate100.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate100.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate100.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate100.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate100.00 Hz
Dual Channel Airborne tunable diode Laser Spectrometer | DCALS | Alan Fried (Co-I) | CU Boulder | DC-8 - AFRC | Laser absorption; Spectrometer (in situ) | CH3OH; CH2O
Harvard Hydroxyl Experiment | HOx | James Anderson (PI) | Harvard | ER-2 - AFRC; WB-57 - JSC; WB-57 - JSC | Fluorescence; Laser absorption | OH; HO2
Harvard Integrated Cavity Output Spectroscopy | ICOS | David Sayres (PI) | Harvard | WB-57 - JSC; ER-2 - AFRC | Laser absorption | H2O
Harvard Tracer Suite | HTS | Bruce Daube (PI) | Harvard | DC-8 - AFRC | Laser absorption; Spectrometer (in situ) | CO; CO2; CH4; N2O | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ
Hawaii Group for Environmental Aerosol Research | HIGEAR | Antony Clarke (Co-I) | U Hawaii | DC-8 - AFRC; P-3 Orion - WFF | CN counter; Differential mobility; Laser absorption; Optical particle counter; Photometer; Spectrometer | Particle Absorption; CCN; Particle Scattering; Aerosol Size Distribution; Black Carbon
Isotope Ratio Infrared Spectrometer | IRIS | Hans-Jürg Jost (PI) | NASA ARC | M-55; WB-57 - JSC | Laser absorption; Spectrometer (in situ) | H2O isotopes
Langley Single Particle Soot Photometer | Langley SP2 | Luke D. Ziemba (PI) | NASA LaRC | P-3 Orion - WFF; C-130H - WFF | Laser absorption | Black carbon mass concentrations | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz
NOAA Water |  | Troy Thornberry (PI) | NOAA ESRL | Global Hawk - AFRC; WB-57 - JSC | Laser absorption | H2O; H2O (total) | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | 2.70 µm2.70 µm2.70 µm0.00 µm1DFB laser to scan 2 H2O lines and CO2 line for additional diagnosticµmYes: has discrete wavelengths | {field_meas_spectrum_1-notes}
Quantum Cascade Laser System | QCLS | Bruce Daube (PI) | Harvard | NCAR G-V; NOAA P-3; DC-8 - AFRC | Laser absorption | CO2; CO; CH4; N2O | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz
Tropospheric Ozone and Tracers from Commercial Aircraft Platforms | TOTCAP | Linnea Avallone (PI) | NSF | DC-8 - AFRC; WB-57 - JSC | Laser absorption; Spectrometer (in situ) | O3; H2O; CO2