## Worksheet
Title | Acronym | Contact Person | Center | Aircraft | Type | Measurements | Measurement Range | Measurement Instrument Pointing | Measurement Frequency | Measurement Swath Width | Measurement Horizontal Resolution | Measurement Vertical Resolution | Measurement Wavelengths (f_inst_wavelength)
Airborne Lunar Spectral Irradiance | Air-LUSI | Kevin Turpie (PI) | UMBC | ER-2 - AFRC | Spectrometer | Lunar Spectral Irradiance | Range of MeasurementOtherInstrument PointingUpwards pointing but not directly upwardsPointing Angles265° - 275° from heading | Range of MeasurementOtherInstrument PointingUpwards pointing but not directly upwardsPointing Angles265° - 275° from heading | Range of MeasurementOtherInstrument PointingUpwards pointing but not directly upwardsPointing Angles265° - 275° from heading | Range of MeasurementOtherInstrument PointingUpwards pointing but not directly upwardsPointing Angles265° - 275° from heading | Range of MeasurementOtherInstrument PointingUpwards pointing but not directly upwardsPointing Angles265° - 275° from heading | Range of MeasurementOtherInstrument PointingUpwards pointing but not directly upwardsPointing Angles265° - 275° from heading | 350.00 nm350.00 nm350.00 nm0.00 nm1nmYes: has discrete wavelengths, 1050.00 nm1050.00 nm1050.00 nm0.00 nm13.7 nm with 0.8 nm sampling from 350 nm to 1050 nmnmYes: has discrete wavelengths