## Worksheet
Title | Acronym | Contact Person | Center | Aircraft | Type | Measurements | Measurement Range | Measurement Instrument Pointing | Measurement Frequency | Measurement Swath Width | Measurement Horizontal Resolution | Measurement Vertical Resolution | Measurement Wavelengths (f_inst_wavelength)
14-channel NASA Ames Airborne Tracking Sunphotometer | AATS-14 | Stephen Broccardo (PI) | NASA ARC | DC-8 - AFRC; J-31; P-3 Orion - WFF; Convair 580 NRC; Twin Otter International; C130H - WFF | Photometer | Aerosol; H2O; O3; Optical Depth; NO2 | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking
Airborne Emission Spectrometer | AES | Helen Worden (Co-I) | NCAR | DC-8 - AFRC; P-3 Orion - WFF; C130 | Interferometer | O3; CO; H2O; CO2; CH4; NH3; etc. | [6 empty] | 4.5-13 µm
Airborne Raman Ozone, Temperature, and Aerosol Lidar | AROTAL | Thomas J. McGee (PI) | NASA GSFC | DC-8 - AFRC | Lidar; Raman spectrometer | Temperature; [tid:114]; O3; Aerosol Backscattering; Aerosol Extinction; Aerosol Depolarization Ratio
Airborne Scanning Microwave Limb Sounder | A-SMLS | Nathaniel Livesey (PI) | JPL | WB-57 - JSC (no longer fits); ER-2 - AFRC | Limb Sounder | H2O; O3; CO; primary; also: HNO3; CH2O; N2O; HCN; CH3CN; CH3OH; SO2; HDO; H2O2; NO2; CH3Cl; (CH3)2CO; depending on instrument tuning and atmospheric loading. | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m
Airborne Submillimeter Radiometer | ASUR | Harry Kullmann (PI) | U Bremen | DC-8 - AFRC | Radiometer | ClO; HCl; HNO3; N2O; O3
Airborne Tunable Laser Absorption Spectrometer | ATLAS | Max Loewenstein (PI) | NASA ARC | ER-2 - AFRC | Spectrometer (in situ) | N2O; CH4; CO; O3 | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz
Alpha Jet Ozone Instrument |  | Laura Iraci (PI) | NASA ARC | Alpha Jet | Spectrometer (in situ) | O3
Balloonsondes (NOAA) | Balloonsondes (NOAA) | Dale Hurst (PI) | NOAA ESRL | Balloon |  | H2O; O3; Temperature; Pressure | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz
Differential Absorption Lidar | DIAL | Johnathan W. Hair (PI) | NASA LaRC | DC-8 - AFRC | Lidar | Aerosol Backscattering; Aerosol Depolarization Ratio; Aerosol Extinction; Aerosol Optical Depth; O3 | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards) | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards) | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards) | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards) | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards) | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards) | 288 nm (O3), , 300 nm (O3), , 355 nm (Aerosol), , 532 nm (Aerosol), , 1064 nm (Aerosol)
Direct beam Irradiance Airborne Spectrometer | DIAS | Samuel R. Hall (PI) | NCAR | DC-8 - AFRC | Spectrometer | Aerosol; Optical Depth; O3 | Range of MeasurementIntegrated slant columnInstrument PointingSolar tracking | Range of MeasurementIntegrated slant columnInstrument PointingSolar tracking | Range of MeasurementIntegrated slant columnInstrument PointingSolar tracking | Range of MeasurementIntegrated slant columnInstrument PointingSolar tracking | Range of MeasurementIntegrated slant columnInstrument PointingSolar tracking | Range of MeasurementIntegrated slant columnInstrument PointingSolar tracking | 280-650 nm
Dual-Beam UV-Absorption Ozone Photometer | NOAA O3 Classic | Erik Richard (PI) | NOAA ESRL | ER-2 - AFRC; Balloon; WB-57 - JSC | Photometer | O3
Fourier Transform Infrared Spectrometer | FTIR | Michael Coffey (PI) | NASA HQ | DC-8 - AFRC | Spectrometer | HCl; ClONO2; N2O; NO; NO2; HNO3; HF; CH4; C2H6; H2O; CO2; CF2Cl2; O3
HAIS Fast-O3 | Fast-O3 | Teresa Campos (PI) | NCAR | Gulfstream V - NSF | Chemiluminescence | O3 | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz
JPL Mark IV Balloon Interferometer | MkIV | Geoffrey Toon (PI) | JPL | Balloon; DC-8 - AFRC | Interferometer | H2O; O3; N2O; CO; CH4; NO; NO2; HNO3; HNO4; N2O5; H2O2; ClONO2; HOCl; HCl; HF; COF2; CF4; SF6; CF2ClCFCl2; CHF2Cl; CF2Cl2; CFCl3; CCl4; CH3Cl; C2H2; C2H6; OCS; HCN; N2; O2; CO2
Langley In Situ Fast-Response Ozone Measurements | FASTOZ | Melody Avery (PI) | NASA LaRC | DC-8 - AFRC | Chemiluminescence | O3
NCAR NOxyO3 | NOxyO3 | Andrew Weinheimer (PI) | NCAR | C-130H - WFF; DC-8 - AFRC; WB-57 - JSC | Chemiluminescence | NO; NO2; NOy; O3
NDACC MLO FTIR | MLOFTIR | James W. Hannigan (PI) | NCAR |  | Interferometer | CO; CH4; ClONO2; HCOOH; C2H6; HCN; HCl; HF; HNO3; H2O; HDO; OCS; N2O; O3; CH2O | Range of MeasurementVertical profileInstrument PointingSolar tracking | Range of MeasurementVertical profileInstrument PointingSolar tracking | Range of MeasurementVertical profileInstrument PointingSolar tracking | Range of MeasurementVertical profileInstrument PointingSolar tracking | Range of MeasurementVertical profileInstrument PointingSolar tracking | Range of MeasurementVertical profileInstrument PointingSolar tracking
NOAA Nitrogen Oxides and Ozone | NOyO3 | Thomas B Ryerson (PI) |  | DC-8 - AFRC | Chemiluminescence | NO; NO2; NOy; O3
O3 Photometer - UAS (NOAA) | UASO3 | Troy Thornberry (PI) | NOAA CSL | WB-57 - JSC; Global Hawk - AFRC; ER-2 - AFRC | Photometer | O3 | Range of MeasurementIn situMeasurement Sampling Rate2.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate2.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate2.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate2.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate2.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate2.00 Hz
O3 Photometer (NOAA) | NOAA O3 | Troy Thornberry (PI) | NOAA CSL | Gulfstream V - NSF; WB-57 - JSC; Global Hawk - AFRC; ER-2 - AFRC | Photometer | O3
Ozonesondes (NOAA) | Ozonesondes (NOAA) | Dale Hurst (PI) | NOAA ESRL | Balloon |  | O3; Temperature; Pressure | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz
Rapid Ozone Experiment | ROZE | Reem A. Hannun (PI) | NASA ARC | DC-8 - AFRC; ER-2 - AFRC |  | O3 | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | 265 nm
Spectrometer for Sky-Scanning, Sun-Tracking Atmospheric Research | 4STAR | Meloe S. Kacenelenbogen (Co-I) | NASA ARC | P-3 Orion - WFF; C-130H - WFF; Convair 580 NRC; Gulfstream G-1 (DOE); DC-8 - AFRC | Spectrometer | NO2; O3; H2O; Spectral Aerosol Optical Depth; Aerosol Extinction Angstrom Exponent; Aerosol Single Scattering Albedo; Aerosol Asymmetry Parameter; Aerosol Scattering phase function; Aerosol Size Distribution; Aerosol Complex Refractive Index; Cloud Optical Depth; Cloud droplet effective radius; Cloud Thermodynamic Phase; Cloud Liquid Water Content | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation
Submillimeter Limb Sounder | SLS | Robert Stachnik (PI) | JPL | Balloon; ER-2 - AFRC | Limb Sounder | ClO; O3; HCl; HNO3; N2O
Tropospheric Ozone and Tracers from Commercial Aircraft Platforms | TOTCAP | Linnea Avallone (PI) | NSF | DC-8 - AFRC; WB-57 - JSC | Laser absorption; Spectrometer (in situ) | O3; H2O; CO2
UAS Chromatograph for Atmospheric Trace Species | UCATS | Brad Hall (PI) | NOAA ESRL | Altair; Global Hawk - AFRC; DC-8 - AFRC; Gulfstream V - NSF; WB-57 - JSC; ER-2 - AFRC | Gas chromatography; Spectrometer (in situ); Spectrometer (in situ) | N2O; SF6; CH4; CO; O3; H2; H2O; CHCl3; CCl4; CF2Cl2; CFCl3; CF2ClCFCl2; Halon-1211 | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ