## Sheet1
ORACLES P-3 instrument sampling considerations
Scenario 1: BB layer and Cloud present
Instrument name / operating organization | Level 1 (above) |  | Level 2 (heart) |  | Level 3 (above cloud) |  | Level 4 (within cloud) |  | Level 5 (below cloud) |  | Level 6 (near surface)
| Usefullness | Comments | Usefullness | Comments | Usefullness | Comments | Usefullness | Comments | Usefullness | Comments | Usefullness | Comments
Remote sensing
4STAR / NASA ARC | P |  | F | Partial AOD & sky radiance | E | AOD and sky radiance above cloud (min 100s) | P |  | E | cloud properties (optimal stand-off = 100m) | E | Full column AOD & sky radiances (min 100s)
RSP/NASA GISS | E | Cloud and aerosol properties and good estimate of aerosol absorption | G | Need to use partial AOD from 4STAR, but still get cloud and aerosol properties below plane | G | Cloud top droplet size distribution at very high temporal and spatial resolution (~ 0.8 sec and 120 m) | P |  | F/P | Potential to get ocean color with white sky illumination constrained by 4STAR cloud characterization | F/P | Potential to get ocean color with white sky illumination constrained by 4STAR cloud characterization
AMPR / NASA MSFC | E | Best use, esp. w/ straight and level flight | E | Better resolution but smaller swath compared to highest flight levels | E | Again, improving resolution but reducing swath | P | Performance largely unknown, but likely noisy | G | Ocean surface properties only | G | Ocean surface properties only, higher spatial resolution but smaller swath | Usefulness Rating E - Excellent VG - Very Good G - Good F - Fair P- Poor
SSFR/ NASA ARC, CU LASP | E | aerosol/cloud radiative effects | G | in-situ validation of aerosol props. (indep. of SSFR) | E | Aerosol/cloud radiative effects, cloud retrievals | P | Not useful | E | aerosol/cloud radiative effects, cloud retrievals | E | Surface aerosol/cloud radiative effects
HSRL-2 / NASA LaRC | E | Aerosol and limited cloud properties. Require straight and level flight (< ~10 degree roll). Standoff at least 1.6 km above aerosol layers for extinction. 1 min averaging (prefer at least 10 minutes). Require additional 10 minutes relatively clear of aerosol down to ~3 km below A/C for calibrations. | G | Aerosol and limited cloud properties but only partial column (below A/C+standoff). Require straight and level flight (< ~10 degree roll). Standoff at least 1.6 km for extinction, so no aerosol at flight level. | F | Aerosol properties only in breaks between clouds or beneath optically thin clouds. Limited cloud properties. Require straight and level flight (< ~10 degree roll). Standoff = 1.6 km above measured layers. | P |  | F | Aerosol properties for aerosol below clouds. Require straight and level flight (< ~10 degree roll). | P
APR3 | E | Full set of measurements if the aircraft is flying at a distance between 1.5 and 5 km above the cloud tops, AND above 3 km above sea level. If closer to the cloud top or to the sea surface, partial loss of data because of close range. If the altitude above the cloud top drops below 500 m or the altitude above the surface drops below 2.5 km the radar will not acquire data. Prefer straight and level, but also constant banking periods are good. | E/P | See Level 1. Depending on the nature of the cloud and the depth of the PBL, it can be Excellent or Poor. | G/P | See Level 1. Could still produce good data in a vertically developed cloud, but not in a shallow PBL cloud. | G/P | See Level 1. Could still produce good data in a vertically developed cloud, but not in a shallow PBL cloud. | P | Radar not transmitting | P | Radar not transmitting.
Cloud in situ
2DS / UND | P |  | P |  | P |  | E |  | VG | Sampling drizzle | VG | Sampling drizzle
HVPS-3 / UND | P |  | P |  | P |  | E |  | VG | Sampling drizzle | VG | Sampling drizzle
CIP on CAPS /UND | P |  | P |  | P |  | E |  | VG | Sampling drizzle | VG | Sampling drizzle
CAS on CAPS/ UND | P |  | P |  | F | Aerosol entrainment | E |  | P |  | P
Hot Wire on CAPS/UND | P |  | P |  | P |  | E |  | P |  | P
CDP / UND | P |  | P |  | P |  | E |  | P |  | P
PCASP / UND | E | Free troposphere aerosol | E |  | E |  | F | Some interference of clouds on aerosol data | E |  | E
King / UND | P |  | P |  | P |  | E |  | P |  | P
FPDR-PDI | G | aerosol/cloud interactions | G | aerosol/cloud interactions | VG | aerosol/cloud interactions | E | cloud microphysics, aerosol/cloud interactions | VG | aerosol/cloud interactions | P
Aerosol in situ
HIGEAR / Univ. Hawaii | F | Not useless, as we can characterize aerosols in the FT. | E |  | VG |  | F | Until we have a CVI, we get little of use in cloud. | E |  | E
PTI/BNL | P |  | VG | BB aerosol absorption | G/F | aerosol abs - conc. Dependence/plane noise | F | aerosol abs - conc. Dependence//plane noise | G/F | aerosol abs - conc. Dependence//plane noise | F/P | aerosol abs - conc. Dependence//plane noise
Gases in situ
COMA / NASA ARC | E | background CO and H2O | E | combustion CO tracer | E | mixed BB and background CO, H2O | E | mixed BB and background CO, cloud H2O | E | background CO and H2O | E | background CO and H2O
Water isotopes/OSU | G | Establish upper bound for mixing | F |  | E | Entrainment/ detrainment | G | Cloud proporties (less important without the CVI) | E | Establish entrainment/drizzle | VG | Establish lower boundary fluxes for mixing
Winds
Vertical Winds / NASA Langley | E | expect smooth ride which is optimum for calculating winds | VG | can look at the impact of vertical motions on the BB layer | VG | good to look at vertical motion around the cloud | G | possibility of lots of turbulence could introduce some artifacts into the calculations of the vertical winds | VG | good to look at vertical motion around the cloud | E | Turbulent mixing in the ML good for looking at fluxes from the surface if desired
Ground based
AERONET & MPLNET/NASA GSFC, request spiral over Henties Bay | P to G | looking for sucker holes in the clouds; thin clouds SDA fine mode AOD w/ AERONET | P to G | MPLNET profile w/ AERONET extinction, looking for breaks in clouds | NA | Only with cloud breakes | NA |  | VG | MPLNET cloud base; and extinction profile below clouds | E | AERONET at Henties Bay full column aerosol properties with cloud breaks and DRAGON campaign and full extinction profile with MPLNET.
Scenario 2: Only BB layer present
Instrument name / operating organization | Level 1 (above) |  | Level 2 (heart) |  | Level 6 (near surface)
| Usefullness | Comments | Usefullness | Comments | Usefullness | Comments
Remote sensing
4STAR / NASA ARC | P |  | F | Partial AOD & sky radiance | E | Full column AOD & sky radiances (min 100s)
RSP/NASA GISS | E |  | G | Harder to use than 1 or 6 but feasible to characterize aerosol below with 4STAR for aerosol above. | E | Excellent opportunity to get ocean color retrieval together with direct measure of remote sensing reflectance
AMPR / NASA MSFC | G | If no cloud, ocean surface properties only | G | Flight level determines swath width vs. spatial resolution | G | Flight level determines swath width vs. spatial resolution
SSFR/ NASA ARC, CU LASP | E | Aerosol absorption, heating rates, SSA | G | in-situ validation of aerosol props. (indep. of SSFR) | E | Aerosol absorption, heating rates, SSA
HSRL-2 / NASA LaRC | E | Aerosol properties. Require straight and level flight (< ~10 degree roll). Standoff at least 1.6 km for extinction of aerosol layers with 1 min averaging (prefer at least 10 minutes). Require additional 10 minutes relatively clear of aerosol down to ~3 km below A/C for calibrations. | G | Aerosol properties but only partial column (below A/C+standoff). Require straight and level flight (< ~10 degree roll). Standoff at least 1.6 km for extinction, so no aerosol at flight level. | P
Cloud in situ | [7 empty] | Usefulness Rating E - Excellent VG - Very Good G - Good F - Fair P- Poor
2DS / UND | P |  | P |  | P
HVPS-3 / UND | P |  | P |  | P
CIP on CAPS / UND | P |  | P |  | P
CAS on CAPS/UND | P |  | F |  | F
Hot wire on CAPS/UND | P |  | P |  | P
CDP / UND | P |  | P |  | P
PCASP / UND | E |  | E |  | E
King / UND | P |  | P |  | P
FPDR-PDI | P | no cloud, no data or aerosol interactions | P | no cloud, no data or aerosol interactions | P | no cloud, no data or aerosol interactions
Aerosol in situ
HIGEAR / Univ. Hawaii | F |  | E | Profiles would be good too! | E
PTI/BNL | P |  | VG | BB aerosol absorption | G/F | aerosol abs - conc. Dependence//plane noise
Gases in situ
COMA / NASA ARC | E | background CO mixing ratio | E | BB CO mixing ratio | E | boundary layer CO and H2O mixing ratio
Water isotopes/OSU | VG | mixing charaxcteristics at top | G | profile mid point | VG | flux profile input
Ground based
AERONET & MPLNET at St. Helena, Henties Bay with full AERONET DRAGON campaign | E | Total column AOD and profile extinction, aerosol properties | F | MPLNET profile, extinction | E | AERONET full column AOD and sky radiance obs.