## Worksheet
Title | Acronym | Contact Person | Center | Aircraft | Type | Measurements | Measurement Range | Measurement Instrument Pointing | Measurement Frequency | Measurement Swath Width | Measurement Horizontal Resolution | Measurement Vertical Resolution | Measurement Wavelengths (f_inst_wavelength)
14-channel NASA Ames Airborne Tracking Sunphotometer | AATS-14 | Stephen Broccardo (PI) | NASA ARC | DC-8 - AFRC; J-31; P-3 Orion - WFF; Convair 580 NRC; Twin Otter International; C130H - WFF | Photometer | Aerosol; H2O; O3; Optical Depth; NO2 | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking
Aerosol Optical Properties | AERO3X | Anthony Strawa (PI) | NASA ARC | P-3 Orion - WFF; DC-8 - AFRC | Optical particle counter | Black Carbon; NO2; Particle Scattering; Aerosol Extinction; Particle Absorption; Asymmetry Parameter; Single Scattering Albedo; Aerosol Backscattering | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | 405 nm, , 675 nm
Airborne 2-Channel Laser Infrared Absorption Spectrometer | ALIAS-II | Lance Christensen (PI) | JPL | Balloon | Spectrometer | N2O; CH4; CO; HCl; NO2
Airborne Scanning Microwave Limb Sounder | A-SMLS | Nathaniel Livesey (PI) | JPL | WB-57 - JSC (no longer fits); ER-2 - AFRC | Limb Sounder | H2O; O3; CO; primary; also: HNO3; CH2O; N2O; HCN; CH3CN; CH3OH; SO2; HDO; H2O2; NO2; CH3Cl; (CH3)2CO; depending on instrument tuning and atmospheric loading. | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m
Berkeley Nitrogen Oxides Detector | BNOD | Ronald C. Cohen (PI) | UC Berkeley | DC-8 - AFRC | Fluorescence | NO2; HNO3; CH3O3NO2 | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ
Charged-coupled device Actinic Flux Spectroradiometers | CAFS | Samuel R. Hall (PI) | NCAR | DC-8 - AFRC; WB-57 - JSC; Gulfstream III - LaRC | Spectrometer (in situ) | Spectrally resolved actinic flux and photolysis frequencies typically calculated for the following species: O3; NO2; NO3; CH2O; HONO; HNO3; N2O5; HNO4; PAN; H2O2; CH3OOH; CH3ONO2; CH3CH2ONO2; CH3CHO; CH3CH2CHO; CHOCHO; CH3COCHO; 2; 3-Butanedione; Methacrolein; MVK; (CH3)2CO; MEK; Br2; BrO; BrNO; BrNO2; BrONO; BrONO2; BrCl; HOBr; CHBr3; Cl2; ClO; ClNO2; ClONO; ClONO2 | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | 280-650 nm
Chlorine Nitrate Instrument | ClONO2 | David Wilmouth (PI) | Harvard | ER-2 - AFRC | Fluorescence | NO2; ClO; ClONO2; BrO
Compact Airborne NO2 Experiment | CANOE | Jason M. St. Clair (PI) | NASA GSFC | DC-8 - AFRC; ER-2 - AFRC | Fluorescence | NO2 | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz
Fourier Transform Infrared Spectrometer | FTIR | Michael Coffey (PI) | NASA HQ | DC-8 - AFRC | Spectrometer | HCl; ClONO2; N2O; NO; NO2; HNO3; HF; CH4; C2H6; H2O; CO2; CF2Cl2; O3
GeoCAPE Airborne Spectrometer | GCAS | Scott Janz (PI) | NASA GSFC | B200 - LARC; WB-57 - JSC; Global Hawk - AFRC; ER-2 - AFRC | Spectrometer | NO2; CH2O | Range of MeasurementIntegrated vertical columnInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate2.00 Hz | Range of MeasurementIntegrated vertical columnInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate2.00 Hz | Range of MeasurementIntegrated vertical columnInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate2.00 Hz | Range of MeasurementIntegrated vertical columnInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate2.00 Hz | Range of MeasurementIntegrated vertical columnInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate2.00 Hz | Range of MeasurementIntegrated vertical columnInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate2.00 Hz | 300-900 nm (Air Quality (AQ) 304:520 nm; Ocean Color (OC) 460:900 nm)
Georgia Tech Laser-Induced Fluorescence | GT-LIF | David Tan (PI) | GA Tech | DC-8 - AFRC | Fluorescence | NO; CH2O; NO2
JPL Mark IV Balloon Interferometer | MkIV | Geoffrey Toon (PI) | JPL | Balloon; DC-8 - AFRC | Interferometer | H2O; O3; N2O; CO; CH4; NO; NO2; HNO3; HNO4; N2O5; H2O2; ClONO2; HOCl; HCl; HF; COF2; CF4; SF6; CF2ClCFCl2; CHF2Cl; CF2Cl2; CFCl3; CCl4; CH3Cl; C2H2; C2H6; OCS; HCN; N2; O2; CO2
mini-DOAS | mini-DOAS | Jochen Peter Stutz (PI) | UCLA | Global Hawk - AFRC | Spectrometer | BrO; NO2; O4
NCAR NO-NO2 | NO-NO2 | Andrew Weinheimer (PI) | NCAR | Gulfstream V - NSF | Chemiluminescence | NO; NO2
NCAR NOxyO3 | NOxyO3 | Andrew Weinheimer (PI) | NCAR | C-130H - WFF; DC-8 - AFRC; WB-57 - JSC | Chemiluminescence | NO; NO2; NOy; O3
NO and NOy Chemiluminescence Instrument | NO/NOy | Yutaka Kondo (PI) | U Tokyo | DC-8 - AFRC | Chemiluminescence | NO; NO2; NOy
NOAA Nitrogen Oxides and Ozone | NOyO3 | Thomas B Ryerson (PI) |  | DC-8 - AFRC | Chemiluminescence | NO; NO2; NOy; O3
NOAA NOy Instrument | NOAA NOy | Patrick Veres (PI) | NCAR | ER-2 - AFRC; Balloon | Chemiluminescence | NO; NO2; NOy
Particle Into Liquid Sampler | PILS | Rodney Weber (PI) | GA Tech | C-130H - WFF; DC-8 - AFRC; P-3 Orion - WFF | Ion Chromatography | Na; NH4; K; Mg; Ca+2; Cl; NO2; NO3; SO4; PO4; Br-; WSOC | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ
Reactive Nitrogen |  | David Fahey (PI) | NOAA ESRL | ER-2 - AFRC |  | NO2; NO3; NOy; NO; N2O5; ClONO2
Spectrometer for Sky-Scanning, Sun-Tracking Atmospheric Research | 4STAR | Meloe S. Kacenelenbogen (Co-I) | NASA ARC | P-3 Orion - WFF; C-130H - WFF; Convair 580 NRC; Gulfstream G-1 (DOE); DC-8 - AFRC | Spectrometer | NO2; O3; H2O; Spectral Aerosol Optical Depth; Aerosol Extinction Angstrom Exponent; Aerosol Single Scattering Albedo; Aerosol Asymmetry Parameter; Aerosol Scattering phase function; Aerosol Size Distribution; Aerosol Complex Refractive Index; Cloud Optical Depth; Cloud droplet effective radius; Cloud Thermodynamic Phase; Cloud Liquid Water Content | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation
Thermal-Dissociation Laser Induced Fluorescence | TD-LIF | Ronald C. Cohen (PI) | UC Berkeley | DC-8 - AFRC | Fluorescence | NO2; ∑PNs; ∑ANs; HNO3 | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ