## Worksheet
Title | Acronym | Contact Person | Center | Aircraft | Type | Measurements | Measurement Range | Measurement Instrument Pointing | Measurement Frequency | Measurement Swath Width | Measurement Horizontal Resolution | Measurement Vertical Resolution | Measurement Wavelengths (f_inst_wavelength)
HIAPER Airborne Radiation Package | HARP | Samuel R. Hall (PI) | NCAR | Gulfstream V - NSF; C-130 - NSF; ER-2 - AFRC | Radiometer | Actinic Flux; Irradiance | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | 280.00 nm680.00 nm480.00 nm400.00 nm1actinic fluxnmYes: has spectral bands specified by upper and lower values, 300.00 nm2400.00 nm1350.00 nm2100.00 nm1irradiancenmYes: has spectral bands specified by upper and lower values
Solar Spectral Flux Radiometer | SSFR | Peter Pilewskie (Co-I) | CU Boulder | Altair; DC-8 - AFRC; ER-2 - AFRC; Global Hawk - AFRC; J-31; P-3 Orion - WFF; C-130H - WFF; Twin Otter - CIRPAS - NPS | Radiometer | Solar flux; Irradiance