## Slide 1: Evaluation of Integrated Water Vapor Retrievals from SSMIS
Gary A. Wick
NOAA ESRL, Physical Sciences Division
With contributions from:
Y.-H. Kuo,1 S. Gutman,2 and the AVAPS Team
1National Center for Atmospheric Research
2NOAA ESRL, Global Systems Division
Notes: <number>

## Slide 2: Motivation
HS3 Science Meeting, May 8, 2013
Wick et al.
Satellite-derived IWV a primary resource at ESRL PSD
Limited satellite product validation over the oceans
  Traditionally coastal radiosonde sites
  Sites may not be representative of the open ocean
Satellite calibration issues with SSMIS
Potential crosstalk in satellite retrieval algorithms not fully documented
What is the accuracy in a storm environment?

## Slide 3: Evaluation Components
COSMIC
GPS Met ground-based retrievals
Global Hawk dropsondes
HS3 Science Meeting, May 8, 2013
Wick et al.

## Slide 4: COSMIC IWV Evaluation
HS3 Science Meeting, May 8, 2013
Wick et al.
Multiple SSM/I retrieval algorithms
  Wentz, 95 (WEN)
  Schlüssel and Emery, 90 (S&E)
  Alishouse et al., 90 (ALI)
  Petty, 94 (PET)
COSMIC
  Derived from profiles initialized with ECMWF and NCEP GFS analyses
Ancillary data on cloud liquid water and precipitation rate as derived from SSM/I
November 7, 2006 12-24 Z

## Slide 5: Collocations
HS3 Science Meeting, May 8, 2013
Wick et al.
November 1-16 and December 8-12, 2006
Collocation within 1 hour and 25 km
No clear regional pattern in differences
Notes: <number>
10-60 N, 70-180 W
382 collocations
Are differences, but not clearly by region, and largest diffs aren’t just coastal

## Slide 6: SSM/I COSMIC IWV Differences
HS3 Science Meeting, May 8, 2013
Wick et al.
Results shown for GFS initialization
Strong overall agreement
Only Schlüssel and Emery exhibit notable bias

## Slide 7: Error Dependencies
HS3 Science Meeting, May 8, 2013
Wick et al.
Cloud Liquid Water
Differences binned as function of parameters including latitude, cloud liquid water, and effective SSM/I resolution
Wentz algorithm selected for use with SSMIS, but bias observed at high CLW contents
Differences also found to be related to different effective sampling regions

## Slide 8: Ground-based GPS IWV Retrievals
HS3 Science Meeting, May 8, 2013
Wick et al.
Work in collaboration with Seth Gutman
Notes: Extended comparison albeit at a limited location
<number>

## Slide 9: Temporal Comparison
HS3 Science Meeting, May 8, 2013
Wick et al.

## Slide 10: IWV Product Comparison
HS3 Science Meeting, May 8, 2013
Wick et al.
Operational (MIRS)
Research (Wick & Wentz)

## Slide 11: Dropsonde Evaluation
WISPAR
  3 Pacific flights in 2011
HS3 2011
  Pacific and Gulf flights
Flight 1 from HS3 2012
HS3 Science Meeting, May 8, 2013
Wick et al.
AMSR-E IWV
~1300 UTC Sep 9, 2011
F17 SSMIS March 10, 2011

## Slide 12: Dropsonde IWV Collocation
Initial matches with swath data within 4 hours, 30 km
No clear dependence on satellite observed
HS3 Science Meeting, May 8, 2013
Wick et al.
Satellite | Bias | RMS
F16 | -0.17 cm | 0.49 cm
F17 | -0.06 cm | 0.40 cm
F18 | -0.12 cm | 0.48 cm

## Slide 13: CLW Comparison
Drospsonde comparison shows little systematic dependence on CLW content for existing collocations
HS3 Science Meeting, May 8, 2013
Wick et al.
Swath Matches
Grid Matches

## Slide 14: Constraint to 1-hour Separation
Limited collocations but very good agreement
Largest differences related to temporal offsets
Provides confidence in both satellite and dropsonde data
HS3 Science Meeting, May 8, 2013
Wick et al.
Bias = 0.03 cm
RMS = 0.24 cm
103 pts

## Slide 15: Conclusions
HS3 Science Meeting, May 8, 2013
Wick et al.
Multiple products enable detailed comparison of IWV products
Overall agreement is very good
COSMIC comparisons highlight retrieval algorithm differences dependent on cloud liquid water, precipitation, and resolution
Comparison with GPS Met demonstrate good performance of research algorithms with SSMIS
Dropsonde data shows very tight agreement with no discernible dependence on satellite
Looking forward to additional drops in storm environment to further explore dependence on CLW and precipitation

## Slide 16: Extra Slides
HS3 Science Meeting, May 8, 2013
Wick et al.

## Slide 17: Resolution Dependence
HS3 Science Meeting, May 8, 2013
Wick et al.
Evaluated difference relative to local gradients for different effective SSM/I resolutions
Resolution dependence is evident
Independent confirmation of effective COSMIC resolution
200 km
Effective SSM/I Sample

## Slide 18: Error Dependences
AMS 2008 Annual Meeting, January 23, 2008
Wick et al.
Latitude Dependence
CLW Dependence

## Slide 19: Independence of Other Effects
AMS 2008 Annual Meeting, January 23, 2008
Wick et al.
Native SSM/I Resolution
200 km Effective Resolution