## Worksheet
Title | Acronym | Contact Person | Center | Aircraft | Type | Measurements | Measurement Range | Measurement Instrument Pointing | Measurement Frequency | Measurement Swath Width | Measurement Horizontal Resolution | Measurement Vertical Resolution | Measurement Wavelengths (f_inst_wavelength)
14-channel NASA Ames Airborne Tracking Sunphotometer | AATS-14 | Stephen Broccardo (PI) | NASA ARC | DC-8 - AFRC; J-31; P-3 Orion - WFF; Convair 580 NRC; Twin Otter International; C130H - WFF | Photometer | Aerosol; H2O; O3; Optical Depth; NO2 | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking | Range of MeasurementIntegrated vertical columnInstrument PointingSolar tracking
Airborne Earth Science Microwave Imaging Radiometer | AESMIR | Edward Kim (PI) | NASA GSFC | C-130H - WFF; P-3 Orion - WFF | Radiometer | Imagery; Snow Thickness; Sea Ice Surface Elevation; H2O; Temperature
Airborne Emission Spectrometer | AES | Helen Worden (Co-I) | NCAR | DC-8 - AFRC; P-3 Orion - WFF; C130 | Interferometer | O3; CO; H2O; CO2; CH4; NH3; etc. | [6 empty] | 4.5-13 µm
Airborne Laser Isotope Spectrometer | ALIS | Lance Christensen (PI) | JPL | DC-8 - AFRC; WB-57 - JSC | Spectrometer (in situ) | H2O; CO2 isotopes; CO2
Airborne Scanning Microwave Limb Sounder | A-SMLS | Nathaniel Livesey (PI) | JPL | WB-57 - JSC (no longer fits); ER-2 - AFRC | Limb Sounder | H2O; O3; CO; primary; also: HNO3; CH2O; N2O; HCN; CH3CN; CH3OH; SO2; HDO; H2O2; NO2; CH3Cl; (CH3)2CO; depending on instrument tuning and atmospheric loading. | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m | Range of MeasurementVertical profileInstrument PointingLimb scanningVertical Resolution2000.00 m
Aircraft Laser Infrared Absorption Spectrometer | ALIAS | Lance Christensen (PI) | JPL | Balloon; ER-2 - AFRC; WB-57 - JSC; WB-57 - JSC | Laser absorption; Spectrometer (in situ) | N2O; H2O isotopes; H2O; CO; CH4; CO2 isotopes; HCl
Balloon Borne Frost Point Hygrometer | Balloon FPH | Dale Hurst (PI) | NOAA ESRL | Balloon |  | H2O | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz
Balloonsondes (NOAA) | Balloonsondes (NOAA) | Dale Hurst (PI) | NOAA ESRL | Balloon |  | H2O; O3; Temperature; Pressure | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz | Range of MeasurementIn situMeasurement Sampling Rate0.10 Hz
Carbon monOxide Measurement from Ames | COMA | Roy R. Johnson (Mgr) | NASA ARC | P-3 Orion - WFF; WB-57 - JSC | Laser absorption | CO; N2O; H2O | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz
Chemical Ionization Mass Spectrometer | NOAA CIMS | Thomas B Ryerson (PI) |  | WB-57 - JSC; DC-8 - AFRC | CIMS | H2O; HNO3; HCl | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ
Chicago Water Isotope Spectrometer | Chi-WIS | Benjamin Clouser (Mgr) | U Chicago | WB-57 - JSC | Spectrometer | H2O; HDO
Compact Raman Lidar | CRL | Zhien Wang (PI) | CU Boulder | University of Wyoming King Air; NSF/NCAR C-130; WP-3D Orion - NOAA | Lidar | H2O; Temperature; Aerosol; and cloud profiles | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate5.00 HzVertical Resolution0.60 m | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate5.00 HzVertical Resolution0.60 m | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate5.00 HzVertical Resolution0.60 m | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate5.00 HzVertical Resolution0.60 m | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate5.00 HzVertical Resolution0.60 m | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate5.00 HzVertical Resolution0.60 m
Cryogenic Hygrometer | CRYO | John Barrick (Co-I) | NASA LaRC | DC-8 - AFRC |  | H2O
Diode Laser Hygrometer | DLH | Glenn S. Diskin (PI) | NASA LaRC | B200 - LARC; DC-8 - AFRC; Global Hawk - AFRC; P-3 Orion - WFF; WB-57 - JSC; Sherpa - WFF; HU25 Falcon - LaRC; Twin Otter - CIRPAS - NPS | Laser absorption | H2O | Range of MeasurementIn situMeasurement Sampling Rate100.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate100.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate100.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate100.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate100.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate100.00 Hz
Fast In-situ Stratospheric Hygrometer | FISH | Cornelius Schiller (PI) | FZ Jülich | WB-57 - JSC; WB-57 - JSC |  | H2O
Fourier Transform Infrared Spectrometer | FTIR | Michael Coffey (PI) | NASA HQ | DC-8 - AFRC | Spectrometer | HCl; ClONO2; N2O; NO; NO2; HNO3; HF; CH4; C2H6; H2O; CO2; CF2Cl2; O3
Frost Point (NOAA) | FP | Andrew Rollins (Co-I) | NOAA CSL | WB-57 - JSC; ER-2 - AFRC |  | H2O
G2301-f |  | Laura Iraci (PI) | NASA ARC |  | Spectrometer (in situ) | CO2; CH4; H2O
G2301-m |  | Laura Iraci (PI) | NASA ARC |  | Spectrometer (in situ) | CO2; CH4; H2O
Harvard Herriott Hygrometer | HWV-HHH | Jessica B. Smith (PI) | Harvard | WB-57 - JSC; ER-2 - AFRC |  | H2O | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate10.00 Hz | 1393 nm (rovibrational transition of H2O)
Harvard Integrated Cavity Output Spectroscopy | ICOS | David Sayres (PI) | Harvard | WB-57 - JSC; ER-2 - AFRC | Laser absorption | H2O
Harvard Lyman-α Photofragment Fluorescence Hygrometer | HWV-LYA | Jessica B. Smith (PI) | Harvard | ER-2 - AFRC; WB-57 - JSC | Fluorescence | H2O | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz
High Altitude Monolithic Microwave integrated Circuit (MMIC) Sounding Radiometer | HAMSR | Shannon Brown (Mgr) | JPL | DC-8 - AFRC; ER-2 - AFRC; Global Hawk - AFRC | Sounder; Microwave Radiometer | Temperature; H2O | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Swath Width40000.00 m (at 20 km)Horizontal Resolution2000.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Swath Width40000.00 m (at 20 km)Horizontal Resolution2000.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Swath Width40000.00 m (at 20 km)Horizontal Resolution2000.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Swath Width40000.00 m (at 20 km)Horizontal Resolution2000.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Swath Width40000.00 m (at 20 km)Horizontal Resolution2000.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Swath Width40000.00 m (at 20 km)Horizontal Resolution2000.00 m (at 20 km) | 8 channels at 50-56 GHz, , 10 channels at 113-119 GHz, , 7 channels at 166-190 GHz
JPL Laser Hygrometer | JLH | Robert L. Herman (PI) | JPL | DC-8 - AFRC; ER-2 - AFRC; Global Hawk - AFRC; WB-57 - JSC | Spectrometer (in situ) | H2O | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | 1370 nm
JPL Mark IV Balloon Interferometer | MkIV | Geoffrey Toon (PI) | JPL | Balloon; DC-8 - AFRC | Interferometer | H2O; O3; N2O; CO; CH4; NO; NO2; HNO3; HNO4; N2O5; H2O2; ClONO2; HOCl; HCl; HF; COF2; CF4; SF6; CF2ClCFCl2; CHF2Cl; CF2Cl2; CFCl3; CCl4; CH3Cl; C2H2; C2H6; OCS; HCN; N2; O2; CO2
Lidar Atmosphere Sensing Experiment | LASE | Amin R. Nehrir (PI) | NASA LaRC | DC-8 - AFRC; P-3 Orion - WFF | Lidar | H2O; Aerosol Backscattering | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate5.00 Hz | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate5.00 Hz | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate5.00 Hz | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate5.00 Hz | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate5.00 Hz | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate5.00 Hz | 815 nm
Multi-function Airborne Raman Lidar | MARLi | Zhien Wang (PI) | CU Boulder | NSF/NCAR C-130; University of Wyoming King Air; P-3 Orion - WFF | Lidar | H2O; Temperature; Aerosol; and cloud profiles | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate10.00 HzVertical Resolution0.60 m | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate10.00 HzVertical Resolution0.60 m | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate10.00 HzVertical Resolution0.60 m | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate10.00 HzVertical Resolution0.60 m | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate10.00 HzVertical Resolution0.60 m | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Nadir (directly downwards)Measurement Sampling Rate10.00 HzVertical Resolution0.60 m
NDACC MLO FTIR | MLOFTIR | James W. Hannigan (PI) | NCAR |  | Interferometer | CO; CH4; ClONO2; HCOOH; C2H6; HCN; HCl; HF; HNO3; H2O; HDO; OCS; N2O; O3; CH2O | Range of MeasurementVertical profileInstrument PointingSolar tracking | Range of MeasurementVertical profileInstrument PointingSolar tracking | Range of MeasurementVertical profileInstrument PointingSolar tracking | Range of MeasurementVertical profileInstrument PointingSolar tracking | Range of MeasurementVertical profileInstrument PointingSolar tracking | Range of MeasurementVertical profileInstrument PointingSolar tracking
NOAA Water |  | Troy Thornberry (PI) | NOAA CSL | Global Hawk - AFRC; WB-57 - JSC | Laser absorption | H2O; H2O (total) | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | 2.7 µm (DFB laser to scan 2 H2O lines and CO2 line for additional diagnostic)
NPOESS Airborne Sounder Testbed - Microwave | NAST-M | R. Vincent Leslie (PI) | NASA LaRC | ER-2 - AFRC; Proteus; WB-57 - JSC | Radiometer | Temperature; H2O
Raman Airborne Spectroscopic Lidar | RASL | David Whiteman (PI) | NASA GSFC | B200 - LARC | Raman spectrometer | H2O; Aerosol Scattering Ratio; Aerosol Backscattering; Aerosol Depolarization Ratio; Aerosol Extinction; Temperature
Scanning High-Resolution Interferometer Sounder | S-HIS | Joe Taylor (PI) | UW Madison | DC-8 - AFRC; ER-2 - AFRC; Global Hawk - AFRC; WB-57 - JSC; Proteus | Interferometer | Temperature; H2O | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width40000.00 m (at 20 km)Horizontal Resolution2000.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width40000.00 m (at 20 km)Horizontal Resolution2000.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width40000.00 m (at 20 km)Horizontal Resolution2000.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width40000.00 m (at 20 km)Horizontal Resolution2000.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width40000.00 m (at 20 km)Horizontal Resolution2000.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width40000.00 m (at 20 km)Horizontal Resolution2000.00 m (at 20 km) | 3.3-18 µm
Spectrometer for Sky-Scanning, Sun-Tracking Atmospheric Research | 4STAR | Meloe S. Kacenelenbogen (Co-I) | NASA ARC | P-3 Orion - WFF; C-130H - WFF; Convair 580 NRC; Gulfstream G-1 (DOE); DC-8 - AFRC | Spectrometer | NO2; O3; H2O; Spectral Aerosol Optical Depth; Aerosol Extinction Angstrom Exponent; Aerosol Single Scattering Albedo; Aerosol Asymmetry Parameter; Aerosol Scattering phase function; Aerosol Size Distribution; Aerosol Complex Refractive Index; Cloud Optical Depth; Cloud droplet effective radius; Cloud Thermodynamic Phase; Cloud Liquid Water Content | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation
Tropospheric Ozone and Tracers from Commercial Aircraft Platforms | TOTCAP | Linnea Avallone (PI) | NSF | DC-8 - AFRC; WB-57 - JSC | Laser absorption; Spectrometer (in situ) | O3; H2O; CO2
Turbulent Air Motion Measurement System | TAMMS | Lee Thornhill (PI) | NASA LaRC | P-3 Orion - WFF | Navigation recorder | Aircraft position; Temperature; Pressure; H2O | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ
UAS Chromatograph for Atmospheric Trace Species | UCATS | Brad Hall (PI) | NOAA ESRL | Altair; Global Hawk - AFRC; DC-8 - AFRC; Gulfstream V - NSF; WB-57 - JSC; ER-2 - AFRC | Gas chromatography; Spectrometer (in situ); Spectrometer (in situ) | N2O; SF6; CH4; CO; O3; H2; H2O; CHCl3; CCl4; CF2Cl2; CFCl3; CF2ClCFCl2; Halon-1211 | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ
Uninhabited Aerial Vehicle Atmo Water Sensor Package | UAVAWSP | Lance Christensen (PI) | JPL |  |  | N2O; H2O isotopes; H2O; CO; CH4
Unmanned Aerial System Laser Hygrometer | ULH | Robert L. Herman (PI) | JPL | Global Hawk - AFRC; WB-57 - JSC |  | H2O | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | 1370 nm
Vertical Cavity Surface Emitting Laser Hygrometer | VCSEL | Mark A. Zondlo (PI) | Princeton | Gulfstream V - NSF |  | H2O